## READ ONLY - REQUIREMENTS
REQUIREMENT
1. | Head CT | 150 Consecutive patients
2 | Chest CT | 150 Consecutive patients
3 | Cardiac CT | 150 Consecutive patients
4 | Abdomen-Pelvis CT | 150 Consecutive patients
5 | Chest-Abdomen-Pelvis CT | 150 Consecutive patients

## READ ONLY - GUIDELINES
GUIDELINES
1. | All variables with * are mandatory and will be returned to you if left empty
2. | Clinical indication is necessary. However, if it is not written in the PACS, choose not available. Keep in mind that in this case we will not be able to assess your institutional clinical based DRLs which is now more commonly used. Therefore, obtaining and recording clinical indication is optimal. Please make all efforts to provide precise clinical indication for which the CT exam was performed. If no clinical indication was provided prior to the CT exam, please state NOT PROVIDED. Please note that when clinical indication is NOT PROVIDED for scanning, it may not be possible to apply clinical indication-based DRLs.
3. | If any of the variables with * such as weight, clinical indication etc.. Are not recorded in your database/PACS data should be collected PROSPECTIVELY. However, if all variables are recorded in your system, you can collect data RETROSPECTIVELY
4. | For writing numerical fractions in the weight, radiation doses slice thickness, pitc and etc.. DO NOT use ",". You have to use "." intead (EXAMPLE: 1.5 is correct 1,5 is incorrect). For numerical fractional values, do not use comma ‘,’ use point ‘.’ (example, CTDIvol=10.7 not 10,7).
5. | For the Patient ID in sheet "Patient Specific Data" - DO NOT provide us with the patient actual MRN/ID/Accession in your hospital. Provide us with a code in which you can use to match the patient ID/MRN/Accession. We do not want any patient identifier. Keep this ID matched with patient medical records with you. We may need in the future to go back to some patients. Therefore this is necessary.
6. | Please write the complete name of the institution (no abbreviations).
7. | Revie the Instructions document or SHEET named "READ ONLY - DOSES GUIDE" - to understand which CTDIvol and DLP to record in the different CT phases. We do not include Topogram/Scount and bolus tracking/ttest bolus as a phase. Contact us for CLARIFICATION. Since you are filling the data in the EXCEL instead of the REDCAP survey we have established. Skip all the instructions in the document and just check ANNEX I for radiation doses clarification.
8. | For weight provide values in Kg and for height if AVAILABLE provide in cm
9. | Please read well the Instruction document Annext I - EXAMPLE 6 or EXAMPLE 6 at SHEET named "READ ONLY - DOSES GUIDE" which explain the different between Ches-Abdomen-Pelvis as a single run off for the radiation doses and the chest and Abdomen-pelvis protocols which has two run off. For the single run off where chest-abdomen-pelvis is scanned as a whole and only one CTDIvol and DLP is provided you should add those patients using the body region as "Ches-Abdomen-Pelvis). For cases where chest and abdomen-pelvis was done with two run off and two CTDIvol and DLP are available you have to add the chest alone and the abdomen alone. DO NOT add this patient as 1 patient having two phases. You have to add chest alone as one patient and abdomen alone as one patient.
10. | DO NOT - Copy paste the excel to a new one. The excel sheet is locked so you do not modify its structure to facilitate data analysis and avoid mistakes.
11. | Clinical indication** (Copy and paste or type the indication as it is without changing or translating the text. This is because we want to get the exact information that the technologists/radiologists get from the referring physician when they receive the order from CT)

## READ ONLY - DOSES GUIDE
EXAMPLE 1 | EXAMPLE 2 | EXAMPLE 4 | EXAMPLE 5 | EXAMPLE 6 | EXAMPLE 7
EXAMPLE 3
Takeout message from Example 1, 2 and 3: Scout/TOPOGRAM and bolus images are not considered a CT phase and SHOULD NOT be included in the number of phases questions. Their radiation doses SHOULD NOT be recorded (only helical images are included). Only include the doses for the respective anatomical area.

## DATA ENTRY - GENERAL
INDIVIDUAL INFORMATION* |  | Name of individual filling survey* |  | Keys
|  | Email* |  | Private | Yes | 1 CT scanner | Siemens | 4
HOSPITAL INFORMATION* |  | Hospital Name* |  | Public | No | 2 CT scanners | GE | 16
|  | Country* |  |  |  | 3 CT scanners | Philips | 32
|  | City* | bjkhl |  |  | 4 CT scanners | Canon/Toshiba | 64
|  | Type * |  |  |  | 5 CT scanners | Other (write in the next cell) | 128
|  | Academic/University* | [5 empty] | 256
CT SCANNER INFORMATION | How many CT scanner are available and used of Adult patients * | [6 empty] | 320
| CT Scanner 1* | Manufacturer* | Other |  |  |  |  | 384
|  | Model* | [5 empty] | 512
|  | Detectors* | Other |  |  |  |  | 640
| CT Scanner 2* | Manufacturer* | Other |  |  |  |  | Other (write in the next cell)
Model*
|  | Detector* | Other
| CT Scanner 3* | Manufacturer* | Other
|  | Model* | Other
|  | Detector* | Other
| CT Scanner 4* | Manufacturer* | Other
|  | Model* | Other
|  | Detector* | Other
| CT Scanner 5* | Manufacturer* | Other
|  | Model* | Other
|  | Detector* | Other

## DATA ENTRY-PATIENT SPECIFIC
# | [10 empty] | TECHNICAL PARAMETER | [8 empty] | RADIATION DOSES | [14 empty] | RECONSTRUCTION INFORMATION
| CT scanner used |  |  | Body Region* | Sex* | Age* (Years) | Weight (Kg)* | Height (cm) | BMI (Kg/m2) | Clinical indication** (Copy and paste or type the indication as it is without changing or translating the text. This is because we want to get the exact information that the technologists/radiologists get from the referring physician when they receive the order from CT) | Automatic Exposure control* | What is the fixed mAs* | Automatic Tube Selection* | Fixed kV* | Gantry rotation time | Pitch | Scan start location* | Scan end location* | Number of scan phases* | Scan Phase 1* |  |  | Scan Phase 2* |  |  | Scan Phase 3* |  |  | Scan Phase 4* |  |  | Scan Phase 5* |  |  | Prospective Sclice Thickness* | Reconstruction Technique*
| Manufacturer* | Model* | Detector* | [16 empty] | Type* | CTDIvol (mGy)* | DLP (mGy.cm)* | Type* | CTDIvol (mGy)* | DLP (mGy.cm)* | Type* | CTDIvol (mGy)* | DLP (mGy.cm)* | Type* | CTDIvol (mGy)* | DLP (mGy.cm)* | Type* | CTDIvol (mGy)* | DLP (mGy.cm)* |  |  | Head CT | Female | Month(s) | No | One Scan Phase | Non-contrast | Filtered back projection
1 | [36 empty] | Chest CT | Male | Year(s) | Yes | Two Scan Phases | Arterial | Iterative reconstruction
1 | [36 empty] | Abdomen-Pelvis CT |  |  |  | Three Scan Phases | Venous | Artificial intelligence/Deep learning
3 | [36 empty] | Chest-Abdomen-Pelvis CT |  |  |  | Four Scan Phases | Delay/equilibrium
4 | [36 empty] | Cardiac CT |  |  |  | Five Scan Phases
5
6
7
8
9
10
11
12
13
14
15
16
17
18
19
20
21
22
23
24.0909
25.1028
26.1146
27.1265
28.1383
29.1502
30.1621
31.1739
32.1858
33.1976
34.2095
35.2213
36.2332
37.2451
38.2569
39.2688
40.2806
41.2925
42.3043
43.3162
44.3281
45.3399
46.3518
47.3636
48.3755
49.3874
50.3992
51.4111
52.4229
53.4348
54.4466
55.4585
56.4704
57.4822
58.4941
59.5059
60.5178
61.5296
62.5415
63.5534
64.5652
65.5771
66.5889
67.6008
68.6126
69.6245
70.6364
71.6482
72.6601
73.6719
74.6838
75.6957
76.7075
77.7194
78.7312
79.7431
80.7549
81.7668
82.7787
83.7905
84.8024
85.8142
86.8261
87.8379
88.8498
89.8617
90.8735
91.8854
92.8972
93.9091
94.9209
95.9328
96.9447
97.9565
98.9684
99.9802
100.9921
102.004
103.0158
104.0277
105.0395
106.0514
107.0632
108.0751
109.087
110.0988
111.1107
112.1225
113.1344
114.1462
115.1581
116.17
117.1818
118.1937
119.2055
120.2174
121.2292
122.2411
123.253
124.2648
125.2767
126.2885
127.3004
128.3123
129.3241
130.336
131.3478
132.3597
133.3715
134.3834
135.3953
136.4071
137.419
138.4308
139.4427
140.4545
141.4664
142.4783
143.4901
144.502
145.5138
146.5257
147.5375
148.5494
149.5613
150.5731
151.585
152.5968
153.6087
154.6206
155.6324
156.6443
157.6561
158.668
159.6798
160.6917
161.7036
162.7154
163.7273
164.7391
165.751
166.7628
167.7747
168.7866
169.7984
170.8103
171.8221
172.834
173.8458
174.8577
175.8696
176.8814
177.8933
178.9051
179.917
180.9289
181.9407
182.9526
183.9644
184.9763
185.9881
187
188.0119
189.0237
190.0356
191.0474
192.0593
193.0711
194.083
195.0949
196.1067
197.1186
198.1304
199.1423
200.1542
201.166
202.1779
203.1897
204.2016
205.2134
206.2253
207.2372
208.249
209.2609
210.2727
211.2846
212.2964
213.3083
214.3202
215.332
216.3439
217.3557
218.3676
219.3794
220.3913
221.4032
222.415
223.4269
224.4387
225.4506
226.4625
227.4743
228.4862
229.498
230.5099
231.5217
232.5336
233.5455
234.5573
235.5692
236.581
237.5929
238.6047
239.6166
240.6285
241.6403
242.6522
243.664
244.6759
245.6877
246.6996
247.7115
248.7233
249.7352
250.747
251.7589
252.7708
253.7826
254.7945
255.8063
256.8182
257.83
258.8419
259.8538
260.8656
261.8775
262.8893
263.9012
264.913
265.9249
266.9368
267.9486
268.9605
269.9723
270.9842
271.996
273.0079
274.0198
275.0316
276.0435
277.0553
278.0672
279.0791
280.0909
281.1028
282.1146
283.1265
284.1383
285.1502
286.1621
287.1739
288.1858
289.1976
290.2095
291.2213
292.2332
293.2451
294.2569
295.2688
296.2806
297.2925
298.3043
299.3162
300.3281
301.3399
302.3518
303.3636
304.3755
305.3874
306.3992
307.4111
308.4229
309.4348
310.4466
311.4585
312.4704
313.4822
314.4941
315.5059
316.5178
317.5296
318.5415
319.5534
320.5652
321.5771
322.5889
323.6008
324.6126
325.6245
326.6364
327.6482
328.6601
329.6719
330.6838
331.6957
332.7075
333.7194
334.7312
335.7431
336.7549
337.7668
338.7787
339.7905
340.8024
341.8142
342.8261
343.8379
344.8498
345.8617
346.8735
347.8854
348.8972
349.9091
350.9209
351.9328
352.9447
353.9565
354.9684
355.9802
356.9921
358.004
359.0158
360.0277
361.0395
362.0514
363.0632
364.0751
365.087
366.0988
367.1107
368.1225
369.1344
370.1462
371.1581
372.17
373.1818
374.1937
375.2055
376.2174
377.2292
378.2411
379.253
380.2648
381.2767
382.2885
383.3004
384.3123
385.3241
386.336
387.3478
388.3597
389.3715
390.3834
391.3953
392.4071
393.419
394.4308
395.4427
396.4545
397.4664
398.4783
399.4901
400.502
401.5138
402.5257
403.5375
404.5494
405.5613
406.5731
407.585
408.5968
409.6087
410.6206
411.6324
412.6443
413.6561
414.668
415.6798
416.6917
417.7036
418.7154
419.7273
420.7391
421.751
422.7628
423.7747
424.7866
425.7984
426.8103
427.8221
428.834
429.8458
430.8577
431.8696
432.8814
433.8933
434.9051
435.917
436.9289
437.9407
438.9526
439.9644
440.9763
441.9881
443
444.0119
445.0237
446.0356
447.0474
448.0593
449.0711
450.083
451.0949
452.1067
453.1186
454.1304
455.1423
456.1542
457.166
458.1779
459.1897
460.2016
461.2134
462.2253
463.2372
464.249
465.2609
466.2727
467.2846
468.2964
469.3083
470.3202
471.332
472.3439
473.3557
474.3676
475.3794
476.3913
477.4032
478.415
479.4269
480.4387
481.4506
482.4625
483.4743
484.4862
485.498
486.5099
487.5217
488.5336
489.5455
490.5573
491.5692
492.581
493.5929
494.6047
495.6166
496.6285
497.6403
498.6522
499.664
500.6759
501.6877
502.6996
503.7115
504.7233
505.7352
506.747
507.7589
508.7708
509.7826
510.7945
511.8063
512.8182
513.83
514.8419
515.8538
516.8656
517.8775
518.8893
519.9012
520.913
521.9249
522.9368
523.9486
524.9605
525.9723
526.9842
527.996
529.0079
530.0198
531.0316
532.0435
533.0553
534.0672
535.0791
536.0909
537.1028
538.1146
539.1265
540.1383
541.1502
542.1621
543.1739
544.1858
545.1976
546.2095
547.2213
548.2332
549.2451
550.2569
551.2688
552.2806
553.2925
554.3043
555.3162
556.3281
557.3399
558.3518
559.3636
560.3755
561.3874
562.3992
563.4111
564.4229
565.4348
566.4466
567.4585
568.4704
569.4822
570.4941
571.5059
572.5178
573.5296
574.5415
575.5534
576.5652
577.5771
578.5889
579.6008
580.6126
581.6245
582.6364
583.6482
584.6601
585.6719
586.6838
587.6957
588.7075
589.7194
590.7312
591.7431
592.7549
593.7668
594.7787
595.7905
596.8024
597.8142
598.8261
599.8379
600.8498
601.8617
602.8735
603.8854
604.8972
605.9091
606.9209
607.9328
608.9447
609.9565
610.9684
611.9802
612.9921
614.004
615.0158
616.0277
617.0395
618.0514
619.0632
620.0751
621.087
622.0988
623.1107
624.1225
625.1344
626.1462
627.1581
628.17
629.1818
630.1937
631.2055
632.2174
633.2292
634.2411
635.253
636.2648
637.2767
638.2885
639.3004
640.3123
641.3241
642.336
643.3478
644.3597
645.3715
646.3834
647.3953
648.4071
649.419
650.4308
651.4427
652.4545
653.4664
654.4783
655.4901
656.502
657.5138
658.5257
659.5375
660.5494
661.5613
662.5731
663.585
664.5968
665.6087
666.6206
667.6324
668.6443
669.6561
670.668
671.6798
672.6917
673.7036
674.7154
675.7273
676.7391
677.751
678.7628
679.7747
680.7866
681.7984
682.8103
683.8221
684.834
685.8458
686.8577
687.8696
688.8814
689.8933
690.9051
691.917
692.9289
693.9407
694.9526
695.9644
696.9763
697.9881
699
700.0119
701.0237
702.0356
703.0474
704.0593
705.0711
706.083
707.0949
708.1067
709.1186
710.1304
711.1423
712.1542
713.166
714.1779
715.1897
716.2016
717.2134
718.2253
719.2372
720.249
721.2609
722.2727
723.2846
724.2964
725.3083
726.3202
727.332
728.3439
729.3557
730.3676
731.3794
732.3913
733.4032
734.415
735.4269
736.4387
737.4506
738.4625
739.4743
740.4862
741.498
742.5099
743.5217
744.5336
745.5455
746.5573
747.5692
748.581
749.5929
750.6047
751.6166
752.6285
753.6403
754.6522
755.664
756.6759
757.6877
758.6996
759.7115
760.7233
761.7352
762.747
763.7589
764.7708
765.7826
766.7945
767.8063
768.8182
769.83
770.8419
771.8538
772.8656
773.8775
774.8893
775.9012
776.913
777.9249
778.9368
779.9486
780.9605
781.9723
782.9842
783.996
785.0079
786.0198
787.0316
788.0435
789.0553
790.0672
791.0791
792.0909
793.1028
794.1146
795.1265
796.1383
797.1502
798.1621
799.1739
800.1858
801.1976
802.2095
803.2213
804.2332
805.2451
806.2569
807.2688
808.2806
809.2925
810.3043
811.3162
812.3281
813.3399
814.3518
815.3636
816.3755
817.3874
818.3992
819.4111
820.4229
821.4348
822.4466
823.4585
824.4704
825.4822
826.4941
827.5059
828.5178
829.5296
830.5415
831.5534
832.5652
833.5771
834.5889
835.6008
836.6126
837.6245
838.6364
839.6482
840.6601
841.6719
842.6838
843.6957
844.7075
845.7194
846.7312
847.7431
848.7549
849.7668
850.7787
851.7905
852.8024
853.8142
854.8261
855.8379
856.8498
857.8617
858.8735
859.8854
860.8972
861.9091
862.9209
863.9328
864.9447
865.9565
866.9684
867.9802
868.9921
870.004
871.0158
872.0277
873.0395
874.0514
875.0632
876.0751
877.087
878.0988
879.1107
880.1225
881.1344
882.1462
883.1581
884.17
885.1818
886.1937
887.2055
888.2174
889.2292
890.2411
891.253
892.2648
893.2767
894.2885
895.3004
896.3123
897.3241
898.336
899.3478
900.3597
901.3715
902.3834
903.3953
904.4071
905.419
906.4308
907.4427
908.4545
909.4664
910.4783
911.4901
912.502
913.5138
914.5257
915.5375
916.5494
917.5613
918.5731
919.585
920.5968
921.6087
922.6206
923.6324
924.6443
925.6561
926.668
927.6798
928.6917
929.7036
930.7154
931.7273
932.7391
933.751
934.7628
935.7747
936.7866
937.7984
938.8103
939.8221
940.834
941.8458
942.8577
943.8696
944.8814
945.8933
946.9051
947.917
948.9289
949.9407
950.9526
951.9644
952.9763
953.9881
955
956.0119
957.0237
958.0356
959.0474
960.0593
961.0711
962.083
963.0949
964.1067
965.1186
966.1304
967.1423
968.1542
969.166
970.1779
971.1897
972.2016
973.2134
974.2253
975.2372
976.249
977.2609
978.2727
979.2846
980.2964
981.3083
982.3202
983.332
984.3439
985.3557
986.3676
987.3794
988.3913
989.4032
990.415
991.4269
992.4387
993.4506
994.4625
995.4743
996.4862
997.498
998.5099
999.5217
1000.5336
1001.5455
1002.5573
1003.5692
1004.581
1005.5929
1006.6047
1007.6166
1008.6285
1009.6403
1010.6522
1011.664
1012.6759
1013.6877
1014.6996
1015.7115
1016.7233
1017.7352
1018.747
1019.7589
1020.7708
1021.7826
1022.7945
1023.8063
1024.8182
1025.83
1026.8419
1027.8538
1028.8656
1029.8775
1030.8893
1031.9012
1032.913
1033.9249
1034.9368
1035.9486
1036.9605
1037.9723
1038.9842
1039.996
1041.0079
1042.0198
1043.0316
1044.0435
1045.0553
1046.0672
1047.0791
1048.0909
1049.1028
1050.1146
1051.1265
1052.1383
1053.1502
1054.1621
1055.1739
1056.1858
1057.1976
1058.2095
1059.2213
1060.2332
1061.2451
1062.2569
1063.2688
1064.2806
1065.2925
1066.3043
1067.3162
1068.3281
1069.3399
1070.3518
1071.3636
1072.3755
1073.3874
1074.3992
1075.4111
1076.4229
1077.4348
1078.4466
1079.4585
1080.4704
1081.4822
1082.4941
1083.5059
1084.5178
1085.5296
1086.5415
1087.5534
1088.5652
1089.5771
1090.5889
1091.6008
1092.6126
1093.6245
1094.6364
1095.6482
1096.6601
1097.6719
1098.6838
1099.6957
1100.7075
1101.7194
1102.7312
1103.7431
1104.7549
1105.7668
1106.7787
1107.7905
1108.8024
1109.8142
1110.8261
1111.8379
1112.8498
1113.8617
1114.8735
1115.8854
1116.8972
1117.9091
1118.9209
1119.9328
1120.9447
1121.9565
1122.9684
1123.9802
1124.9921
1126.004
1127.0158
1128.0277
1129.0395
1130.0514
1131.0632
1132.0751
1133.087
1134.0988
1135.1107
1136.1225
1137.1344
1138.1462
1139.1581
1140.17
1141.1818
1142.1937
1143.2055
1144.2174
1145.2292
1146.2411
1147.253
1148.2648
1149.2767
1150.2885
1151.3004
1152.3123
1153.3241
1154.336
1155.3478
1156.3597
1157.3715
1158.3834
1159.3953
1160.4071
1161.419
1162.4308
1163.4427
1164.4545
1165.4664
1166.4783
1167.4901
1168.502
1169.5138
1170.5257
1171.5375
1172.5494
1173.5613
1174.5731
1175.585
1176.5968
1177.6087
1178.6206
1179.6324
1180.6443
1181.6561
1182.668
1183.6798
1184.6917
One Scan Phase